| Chapter 4 – Electric Service |  | Strongly Agree | Agree | Neither Agree Nor Disagree | Disagree | Strongly Disagree |
| --- | --- | --- | --- | --- | --- | --- |
| Service Extension Policies and Practices |  |  |  |  |  |  |
| - Service extension policies are equitably applied to all geographic areas being served. |  | 1 | 2 | 3 | 4 | 5 |
| - Underground service extension policies are fair with regard to overhead service extensions. |  | 1 | 2 | 3 | 4 | 5 |
| - Policies regarding service extensions are clear and definitive. |  | 1 | 2 | 3 | 4 | 5 |
| - Complaints from consumers concerning line extension practices are rare. |  | 1 | 2 | 3 | 4 | 5 |
| - Clear-cut procedures are written out and available to employees for use in processing applications for service extensions. |  | 1 | 2 | 3 | 4 | 5 |
| - A written checklist is given to the applicant so that he/she knows exactly what is required before service is extended. |  | 1 | 2 | 3 | 4 | 5 |
| - On services where the duration of service will not likely be long enough to amortize the investment, a “contributions-in-aid-of-construction” is required. |  | 1 | 2 | 3 | 4 | 5 |
| - Signed contracts and contributions-in-aid-of-construction are required of customers on large projects before material is ordered or line construction begins. |  | 1 | 2 | 3 | 4 | 5 |
| - Deposits and minimum bills are fairly and consistently enforced. |  | 1 | 2 | 3 | 4 | 5 |
| - A single employee is designated to be primarily responsible for expediting every aspect of service extensions, including sales, engineering and construction. |  | 1 | 2 | 3 | 4 | 5 |
| - Service extension policies are approved by the board, placed in written form and made available to employees and members. |  | 1 | 2 | 3 | 4 | 5 |
| - Such policies are periodically reviewed and updated to reflect current conditions. |  | 1 | 2 | 3 | 4 | 5 |
| - The policies reflect economically feasible conditions and do not unfairly favor one class of members over others. |  | 1 | 2 | 3 | 4 | 5 |
| - The property rights of landowners are considered to avoid arbitrary location of cooperative facilities. |  | 1 | 2 | 3 | 4 | 5 |
| - The cooperative has a project planning and monitoring system to control all projects in order to determine variance in cost (labor, material and equipment) and projected completion dates. |  | 1 | 2 | 3 | 4 | 5 |
| - The project planning and monitoring report is reviewed by management in a timely manner to alleviate unnecessary delays and costs. |  | 1 | 2 | 3 | 4 | 5 |
| Legal Implications of Service Extensions |  |  |  |  |  |  |
| - The line extension policy is applied impartially. |  | 1 | 2 | 3 | 4 | 5 |
| - Service extensions do comply with REA and CFC mortgage requirements. |  | 1 | 2 | 3 | 4 | 5 |
| - Adequate easements are executed and filed to protect the facilities installed and assure the future operation and maintenance of the facilities. |  | 1 | 2 | 3 | 4 | 5 |
| - Extension policies conform to filed rules and regulations. |  | 1 | 2 | 3 | 4 | 5 |
| Application of Modern Utility Practices |  |  |  |  |  |  |
| - The cooperative utilizes up-to-date work equipment. |  | 1 | 2 | 3 | 4 | 5 |
| - The cooperative’s work methods and practices reflect a continuing effort to employ and utilize improvements in providing electric service. |  | 1 | 2 | 3 | 4 | 5 |
| - System personnel are encouraged and given adequate time to seek out modern materials and practices. |  | 1 | 2 | 3 | 4 | 5 |
| Electric Service Availability vs. Consumer Needs |  |  |  |  |  |  |
| - Single-phase and three-phase services are available throughout the service area. |  | 1 | 2 | 3 | 4 | 5 |
| - Service is provided in a reasonable time after it is requested. The cooperative has a standard time for providing service. |  | 1 | 2 | 3 | 4 | 5 |
| - We have restrictions on the size load we will serve. |  | 1 | 2 | 3 | 4 | 5 |
| - Work plans are made which assures the availability of adequate resources for meeting the consumer needs. |  | 1 | 2 | 3 | 4 | 5 |
| System Design Techniques and Apparatus and Equipment Utilization |  |  |  |  |  |  |
| - System design techniques promote flexible operational procedures. |  | 1 | 2 | 3 | 4 | 5 |
| - Existing equipment utilization is considered in future system design. |  | 1 | 2 | 3 | 4 | 5 |
| - System design plans are reviewed by competent personnel before construction to ensure proper and economical use of material and manpower. |  | 1 | 2 | 3 | 4 | 5 |
| - System design techniques promote safe and efficient system operation. |  | 1 | 2 | 3 | 4 | 5 |
| - System designs are discussed with outside employees prior to final acceptance. |  | 1 | 2 | 3 | 4 | 5 |
| Continuity Practices and Standards |  |  |  |  |  |  |
| - Consumer outage reports are tabulated and analyzed for appropriate action to promote better service continuity. |  | 1 | 2 | 3 | 4 | 5 |
| - Operating personnel participate in established standards. |  | 1 | 2 | 3 | 4 | 5 |
| - The continuity of service record is acceptable in terms of frequency and duration of outages. |  | 1 | 2 | 3 | 4 | 5 |
| - Employees have been adequately trained in switching procedures to minimize length of outages. |  | 1 | 2 | 3 | 4 | 5 |
| System Capacity vs. Consumer Needs |  |  |  |  |  |  |
| - System capacity is capable of carrying current consumer requirements. |  | 1 | 2 | 3 | 4 | 5 |
| - System capacity is monitored on a regular basis and appropriate action taken. |  | 1 | 2 | 3 | 4 | 5 |
| Preventative Maintenance Program |  |  |  |  |  |  |
| - Maintenance program work plans are prepared and reviewed on a periodic basis. |  | 1 | 2 | 3 | 4 | 5 |
| - Adequate records are kept of preventative maintenance programs. |  | 1 | 2 | 3 | 4 | 5 |
| - There is a continuing maintenance plan to assure continuity of the program from year to year. |  | 1 | 2 | 3 | 4 | 5 |
| - Maintenance programs and costs are evaluated periodically. |  | 1 | 2 | 3 | 4 | 5 |
| System Conditioning Evaluations |  |  |  |  |  |  |
| - Annual operation and maintenance surveys are made that include detailed inspections of representative segments of system facilities. |  | 1 | 2 | 3 | 4 | 5 |
| - There is evidence that system facilities are physically and structurally sound. |  | 1 | 2 | 3 | 4 | 5 |
| - Rights-of-way are well maintained. |  | 1 | 2 | 3 | 4 | 5 |
| - System facilities are properly grounded, shielded and protected. |  | 1 | 2 | 3 | 4 | 5 |
| - Facilities meet standards of safety and code requirements. |  | 1 | 2 | 3 | 4 | 5 |
| - System facilities are designed, constructed and maintained to provide a pleasing aesthetic appearance with the minimum visual impact. |  | 1 | 2 | 3 | 4 | 5 |
| System Performance Evaluations |  |  |  |  |  |  |
| - System performance evaluations are made on a regular basis against established standards. |  | 1 | 2 | 3 | 4 | 5 |
| - The system performance is in compliance with standards of REA, FERC and the state regulatory commission. |  | 1 | 2 | 3 | 4 | 5 |
| - There is evidence that voltage levels are adequate throughout the system. |  | 1 | 2 | 3 | 4 | 5 |
| - System losses are acceptable. |  | 1 | 2 | 3 | 4 | 5 |
| - Voltage fluctuations, radio and TV interference are within acceptable tolerances. |  | 1 | 2 | 3 | 4 | 5 |
| Long-Range Engineering Planning |  |  |  |  |  |  |
| - Long-range plans are reviewed at least annually to insure relevance to future conditions. |  | 1 | 2 | 3 | 4 | 5 |
| - Staff members are familiarized with the long-range plans. |  | 1 | 2 | 3 | 4 | 5 |
| - Long-range planning includes exploration of all facets of growth potential in the service area. |  | 1 | 2 | 3 | 4 | 5 |
| - The long-range plan can be implemented in increments as load growth dictates. |  | 1 | 2 | 3 | 4 | 5 |
| - The long-range plan includes improving operating characteristics as well as providing for load growth. |  | 1 | 2 | 3 | 4 | 5 |
| System Additional Planning |  |  |  |  |  |  |
| - System additions are planned in accordance with long-range system requirements. |  | 1 | 2 | 3 | 4 | 5 |
| - System improvements are planned at least six months prior to construction. |  | 1 | 2 | 3 | 4 | 5 |
| - System addition planning is comprehensive enough to avoid delays once construction has commenced. |  | 1 | 2 | 3 | 4 | 5 |
| - Projects are programmed to allow for orderly scheduling of material, manpower and monetary resources. |  | 1 | 2 | 3 | 4 | 5 |

| REFERENCE GUIDE |  |
| --- | --- |
| ELECTRIC SERVICE |  |
| REA POLICY BULLETINS |  |
| 20-19 | Non-Discrimination Among Beneficiaries of REA Program |
| 40-7 | National Electrical Safety Code – ANSI C2, 1973 Edition |
| 41-1 | Engineering Services for Electric Borrowers |
| 60-2 | Electric System Capacity |
| 60-7 | Service Reliability |
| 60-8 | System Planning Guide for Electric Distribution Systems |
| 60-10 | Construction Work Plans |
| 101-3 | Business Management for Board Members of Electric Cooperatives |
| 103-1 | A Practical Approach to Making Policy |
| 112-1 | Handbook of Electric Retail Rates and Service Rules |
| 112-3 | Area Coverage Service |
| 112-6 | Large Power Rates and Contracts, and Sales for Resale |
| 160-1 | Engineering and Operations Manual for Rural Electric Systems |
| 160-2 | Engineering and Operations Manual for Rural Electric Systems-Distribution Line (Design (Mechanical) |
| 161-1 | Interruption Reporting and Service Continuity Standards for Electric Distribution Systems |
| 161-3 | Line Inspection and Maintenance Records – Distribution Lines |
| 161-4 | Pole Maintenance |
| 161-5 | System Operation and Maintenance Review and Evaluations |
| 161-7 | Guide for Making Voltage Measurements on Rural Distribution Systems |
| 161-11 | Operations and Maintenance Records for Distribution Equipment |
| 165-1 | Substation Inspection and Maintenance |
| 169-2 | System Voltage Limits for Satisfactory Television Receiver Operation |
| 160-4 | Voltage Levels on Rural Distribution Systems |
| 169-9 | Location of Radio Interference on Rural Power Systems |
| 81-9 | Preparation of Plans and Specifications |
| 20-3 | Obtaining Adequate Right-of-Way |
| 169-1 | Application of Shunt Capacitors |
| 161-17 | Brush Control in Right-of-Way Maintenance |
| 83-1 | Adequate Grounding on Primary Distribution Lines |
| 161-23 | Underground Corrosion Control |
| 169-27 | Voltage Regulator Application |
| RUS BULLETINS |  |
| CFC RESOURCES |  |
| CO-BANK RESOURCES |  |
| NRECA RESOURCES & TRAINING |  |